## Rack
RACK NO 01
Rack No. | Sub Rack No | Box No. | Material Discription | Qunatity
1 | A | 1 | 150T Torpido Plug 415V, 3P
|  | 2 | ABB Power Contactor
|  | 3 | ROGOWSKI Coil
4
| B | 1 | Semi Conductor Fuse 1000A | 2 Box
|  | 2 | Patch Cord & Cable
|  | 3 | Communication Adapter & Patch Cord
|  | 4 | Starter 2 HP
|  | 5 | Pump Starter 15 HP
| C | 1 | KR Contactor 3TF53020AFO
|  | 2 | Profibus Connector
|  | 3 | RTV Gun
4
| D | 1 | 15 HP Starter | 2 Box
|  | 2 | LOTO Material
|  | 3 | MPCB 4A-6.3A, 10A, 16A-20A
|  | 4 | PCB Board (UPS Card )
Rack No. |  | Box No. | Material Discription | Qty
2 | A | 1 | LED Board
|  | 2 | LT Hand Gloves
|  | 3 | LED PCB
| B | 1 | Blower | 4 NOS
|  | 2 | 20A Starter | 2 BOX
|  | 3 | Tubuler 06-32mm | 4 BOX
| C | 1 | Oil Can | 2 BOX
|  | 2 | ck | 3 BOX
|  | 3 | Repair Multimeter
| D | 1 | Blower | 3 NOS
|  | 2 | Grease Gun ( 5kg )
Rack No. |  | Box No. | Material Discription | Qty
3 | A | 1 | Battery Operated Grease Gun (450gm) | 02 NOS
|  | 2 | LED Lights
|  | 3 | SIEMENSE FDA System
|  | 4 | Cat 6 Cable ( 15 mtr)
| B | 1 | FUSE
|  | 2 | OFC Patch Cord
|  | 3 | Cable KVM USB
|  | 4 | D-Link Cat 6
|  | 5 | IR Gas Analyser
| C | 1 | Socket 6A, Nose Plier, Tube Cutter
|  | 2 | Welding Socket
|  | 3 | Digital Input drives
|  | 4 | E&A
| D | 1 | All Size RTT
Rack No. |  | Box No. | Material Discription | Qty
4 | A | 1 | 2P Switch Board
|  | 2 | 15 HP Starter
|  | 3 | RH Coil
|  | 4 | MCB 2P , 2A
|  | 5 | Old Limit Switch
| B | 1 | ABB Control Board
|  | 2 | MCB 2P , 6A
|  | 3 | Sick Controller
|  | 4 | MCB 2P , 6A
|  | 5 | ABB MS165 80, 70A-80A MPCB
|  | 6 | ABB digital Ammeter
| C | 1 | ABB Contactor Tips
|  | 2 | MCB 2P , 6A | 2 BOX
| D | 1 | Push Button
|  | 2 | Torpido Top Car (3P/50T)
|  | 3 | Scrap Car Load Cell Remote
Rack No. |  | Box No. | Material Discription | Qty
5 | A | 1 | Lug
Ferrule (95,120,150,240)
| B | 1 | HT Ferrule 240mm
|  | 2 | AL Lug 240mm
|  | 3 | lug 300mm
|  | 4 | Ferrule 300mm
|  | 5 | AL Lug 240mm
|  | 6 | AL Lug 300mm
| C | 1 | Lug
|  | 2 | AL Lug (95mm &185mm)
|  | 3 | Ferrule 300mm
|  | 4 | Lug
|  | 5 | Al Lug 120mm&240mm
|  | 6 | HASL-561
| D | 1 | Copper Lug
|  | 2 | Copper Lug 25mm-35mm
|  | 3 | Copper Lug
|  | 4 | AL Lug 185mm
|  | 5 | Lug 185mm
|  | 6 | HT Ferrule 240mm
Rack No. |  | Box No. | Material Discription | Qty
6 | a | 1 | Drive ABB 11KW | 3NOS
|  | 2 | Drive Siemence 7.5 KW | 4 NOS
| B | 1 | Crimping Tool
|  | 2 | RH O-ring
|  | 3 | Level Transmeter
|  | 4 | Sick Controller
| C | 1 | UPS Card
|  | 2 | CO Monitor Card
|  | 3 | TB 35 sqmm TBD Channel Patti
|  | 4 | HDMI Cable
| D | 1 | SBT Spare MITSUBISHI ELECTRIC
|  | 2 | Sick Controller
|  | 3 | SIEMENSE Power Supply 24V 20A
Rack No. |  | Box No. | Material Discription | Qty
7 | A | 1 | Power Supply 24V, 40A
| B | 1 | Profibus
|  | 2 | PLC Card S7300
|  | 3 | Vibration Sensor JB
|  | 4 | PLC Card
| C | 1 | ABB Contactor 400A
| D | 1 | Power Contactor MS165-73,62-73A & ABB Power Contactor 185A
|  | 2 | ESP Signal Isolator PEPPERL+ FUCHS
Rack No. |  | Box No. | Material Discription | Qty
8 | A | 1 | Firing Module
| B | 1 | HR Tape
| C | 1 | Contact Cleaner
|  | 2 | Fome
|  | 3 | CRC Spary
| D | 1 | Warnish Spary
|  | 2 | RTV Sealant

## Cupboard 1
Sub Cupboard No | SR NO | MATERIAL DESCRPTION |  | MLFB NO | Qunatity
A | 1 | Central processing Unit (Modul Near) |  |  | 4
| 2 | Central processing Unit
| 3 | Syns Modul Fern , Sync Module Far |  |  | 2 | Dustbin | 2
| 4 | CPU-414-5H PN/DP |  |  | 1
| 5 | CPU-414-3PN/DP |  | 4700104359 | 4
| 6 | CPU-416-5H |  | PO-MH1127284622 | 3
| 7 | CPU-417-5H |  | POMH1127284622 | 1
| 8 | Communication Processor FOR S7-400 Series |  | CP443-IEX30 | 5
| 9 | Communication Processor |  | CP443-SEXTENDED | 4
| 10 | Power Supply PS407 (4A) | 4A |  | 1
| 11 | Power Supply PS407 (10A) | 10A |  | 3
B | 1 | Ethernet 2-Port-TI45-Swithc |  | CP-1623 | 7
| 2 | Smart Sensor |  |  | 2
| 3 | FPBA-01 OPTION/SP KIT |  | 2200211836 | 3
| 4 | FEN-13 KIT |  | 2200115502 | 2
| 5 | Frequency Converter Equipment |  |  | 1
| 6 | MSA 2050 |  |  | 1
| 7 | Safety Relay |  | 35k121-icb42 | 5
C | 1 | Analog Input Module S7-1200 |  |  | 3
| 2 | Analog output Module S7-1200 |  |  | 3
| 3 | Communication Module S7-1200 |  |  | 3
| 4 | Digital Input Module S7-1200 |  |  | 2
| 5 | CPU Module S7-1200 |  |  | 1
| 6 | CPU S7-1200 |  |  | 2
| 7 | Digital Output Module S7-1500 |  |  | 6
| 8 | Digital Input Module |  |  | 1
D | 1 | Bus Module ET-200 |  | 6ES71957HC000XA0 | 15
| 2 | Y Coupler |  | 6ES7197ILB00OXA0 | 7
| 3 | Simatic S7-400 CPU |  | 6ES74175HT060AB0 | 1
| 4 | Assembled inch |  | 76E811M480 | 2
| 5 | Interface Module |  | 6ES71556AU010BN0
| 6 | Accessory Cabling Kit |  |  | 21
| 7 | Digital Input Module S7300 (24A) | 24A
| 8 | Field Terminated Plug cat-6A RJ45 |  | 1PO183010086 | 1
| 9 | Baseunit ET200SP |  | 6ES7193-6BP00-0BA1 | 2
| 10 | Connector Phonix |  |  | 2
E | 1 | Busconnector Profibus DP |  | 6ES7972-0BAS2-0XA0 | 51
| 2 | Repeater RS |  | 6ES7972-0AA02-0XA0 | 8
| 3 | Digital output Module 200SP |  | 6ES7-132-6BF01-0BA0 | 16
| 4 | Digital Input Module ET200SP |  | 6ES7131-6BH01-0BA0 | 9
| 5 | Analog Input Module ET200SP |  | 6ES7134-6JDOO-0CA1 | 4
| 6 | Counter Module S7300 |  | 6ES7350-2AH01-0AE0 | 6
| 7 | Connector |  | 6ES7392-1AJ00-0AA0 | 20
| 8 | Connector |  | 6ES7392-IAMOO-0AA0 | 27
| 9 | Safety Protector S7300 |  | 6ES7195-7KF00-0XA0 | 14
2
Sub Cupboard No | SR NO | MATERIAL DESCRPTION |  | MLFB NO | Qunatity
A | 1 | Redundany Module |  | 6EP19613BA21 | 4
| 2 | Prosoft Radiolinx 802.11a |  |  | 4
| 3 | Central Processing Unit S7-300 |  | 6ES73152F14 | 2
| 4 | CPU |  | 6ES73183FL010AB0 | 1
| 5 | CPU |  | 6ES73146EH040AB0 | 1
| 6 | CPU |  | 6ES73136C4040AB0 | 1
| 7 | COMM Processor |  | 6ES7341ICH020AB0 | 1
| 8 | Power Supply | 10A | 6EP13342BA20 | 1
| 9 | Power Supply | 5A | 6EP133-2BA20 | 1
| 10 | Power Supply | 5A | 6EP133-212B00 | 1
| 11 | Smart CPU Module S7-200 |  | 6ES7-288-15T30-0AA1 | 1
| 12 | COMM Processor CP-343 |  | 6GK7-343-ICX10-OXEO | 2
| 13 | Power Supply | 40A | 6EP-3437-8SB00-0AY0 | 1
| 14 | Media Converter (LC To LAN) |  |  | 2
| 15 | Comfert Panel |  | 6AV212406C010AX0 | 1
| 16 | Power Supply | 10A | 2200028328 | 1
B | 1 | Analog Input Module S7300 |  | 6ES7331-IKF02-0AB0 | 8
| 2 | Analog Input Module (Safety) S7300 |  | 6ES7336-4GE00-0AB0 | 2
| 3 | AOM A08'12BIT S7300 |  | 6ES7332-5HF00-0AB0 | 4
| 4 | DIM DI'32 S7300 |  | 6ES7321-1BL00-0AA0 | 18
| 5 | DOM DO32 S7300 |  | 6ES7322-IBL00-0AA0 | 10
| 6 | DOMDO16 S7300 |  | 6ES7322-IBH01-0AA0 | 12
| 7 | DOM DO8 S7300 |  | 6ES7322-IBF01-0AA- | 21
C. | 1 | DOM DO8 S7300 |  | 6ES7326-2BF41-0AB0 | 25
| 2 | DIM DI24 S7300 |  | 6ES7326-IBK02-0AB0 | 13
| 3 | Welghing Module |  | 7MH4950-2AA01 | 4
| 4 | Sinamics CU240E-2DP |  | 6SL32440BB121PA1 | 5
| 5 | Sinamics CU250S-2DP |  | 6SSL3246-0BA22-1PA0 | 2
D | 1 | Process Sensor |  | 9701-001 FLEXPROGRAMMER | 1
| 2 | Sinamics Converter Parts |  | 6SL3055-0AA0-40AS | 1
| 3 | Basic Panel |  | 6AV223-2GB03-0AX0 | 1
| 4 | Basic Panel |  | 6AV223-2JB03-0AX0 | 1
| 5 | Basic Panel |  | 6AV223-2DB03-0AX0 | 4
| 6 | Windows CD
E
CUPBOARD-12
Sub Cupboard No | SR NO | MATERIAL DESCRPTION |  | MLFB NO | Qunatity
A | 1 | Transfer for Checklist Book |  |  | 37
| 2 | PTW Register Book |  |  | 6
| 3 | UPS Charger Checklist Book |  |  | 11
| 4 | Transformer Checklist Book |  |  | 3
| 5 | Substation #01 2nd Floor Book |  |  | 4
| 6 | ESP -01 MCC Book |  |  | 2
| 7 | Laser Analyzer Checklist Book |  |  | 17
| 8 | Isolation Register Book |  |  | 16
B | 1 | Motor Protection Circuit Breaker | 0.7-1A | MOG-H1-0100 | 16
| 2 | Contact Accessories |  | ISBN010020R1011 | 7
| 3 | Contator |  | ISBL241001R8401 | 9
| 4 | MIA 3 Single Function Meter |  | ISYG235135R4051 | 13
| 5 | Contactor Power Air Breaker | 75A | ISBL397001R1300 | 2
| 6 | Manual Motor Starter | 10-16 A | ISAM280000R1008 | 2
| 7 | Manual Motor Starter | 70-80A | ISAM451000R1019 | 5
| 8 | Manual Motor Starter | 10-16A | ISAM350000R1011 | 5
| 9 | Contactor |  | ISBL141201R8400 | 14
| 10 | MPCB | 16-20A | ISAM350000R1013 | 4
| 11 | Contact Accessories |  | ISBN010040R1022 | 59
C. | 1 | Cotactor |  | ISBL371001R8400 | 1
| 2 | C Moulded Circuit Breaker |  | ISDA067819R1 | 4
| 3 | Manual Motor Starter 3P, 50KA | 1-1.6A | ISAM250000RI006 | 4
| 4 | Air Breaker (Aux) Contactor | 2A | 3TH3031-0AP0 | 3
| 5 | Manual Motor Starter Trip |  | ISAM250000RI008 | 3
| 6 | Moulded Case Circuit Breaker |  | ISDA068490R1 | 2
| 7 | Circuit Breaker | 10-16A | 3VU1340-0MM00 | 5
| 8 | Signal Contact |  | ISAM201903R1001 | 5
| 9 | P2-FP-1101AC |  | ISYN790291P0604-A | 1
| 10 | Signal contact accesories manual motor starter |  | ISAM401904R1001 | 4
| 11 | Contact Accessories |  | ISFN010720R3311 | 16
| 12 | 4/Analog Output Relay , LF , BECKHOFF |  | 32230512 | 18
| 13 | Addon Block ABB |  |  | 2
| 14 | Contactor Power | 65A | LCID65AP7
| 15 | Contactor Power |  | 3TF49 | 1
D | 1 | MCCB ,4P | 80A |  | 1
| 2 | Power Contactor ABB |  | AF260-30 | 1
E | 1 | PVC Gland 01 |  |  | 30
| 2 | SS Gland 13mm |  |  | 50
| 3 | PVC Gland 9mm |  |  | 20
| 4 | SS Gland 54mm |  |  | 12
| 5 | SS Gland 23mm |  |  | 13
| 6 | SS Gland 35mm |  |  | 8
| 7 | Panel Lock |  |  | 20
CUPBOARD-11
Sub Cupboard No | SR NO | MATERIAL DESCRPTION |  | MLFB NO | Qunatity
A | 1 | Heavy Duty Encoder Incremental |  | HOG86DN20481
| 2 | Current Transformer |  | 10253 2903 800/5A | 1
| 3 | Current Transformer |  | 1250/5A | 1
| 4 | Model -NA-20062,24VDC, Input |  |  | 1
| 5 | MPA4112 V1.1 | 3A | 00019993/X36
| 6 | RH Preheater UV Sensor Module |  | CE-0085AR0415
| 7 | Core Balance Current Transformer | 630/1A | 7UG09914 | 2
| 8 | Core Balance Current Transformer | 160/1A | 7UG09910 | 3
| 9 | ACC,CKT,BRKR | 3A | H4305-2 (2200149052) | 2
| 10 | Recter.SOST ,AIR, PCB | 2A | 2200200680 | 5
| 11 | Limit Switch (lance) |  | TL-441-11Y-T-1276 (220004985) | 12
| 12 | FA |  | 064-12X-2512-2 | 5
| 13 | SW,LIM,HDTY,RLY,UNID (KR) | 4A | TK441-11Y-RMS-M20) | 7
B | 1 | Bussmann Series | 800A | 170M6629 | 1
| 2 | Limit Switch |  | 064-12Y-2512-2 | 1
| 3 | LV HRC Fuse Link | 160A | 3NA71366RC | 1
| 4 | Fuse, HRC, KNIF EDG | 160A | 2200161626 | 1
| 5 | Fuse Semicunductor | 800A | 170M8647 | 6
| 6 | Fuse Semicunductor Knif | 63A | 2200113921 | 1
| 7 | Fuse HRC Knif EDG | 315A | 2200115642 | 1
| 8 | Fuse HRC Knif EDG | 400A |  | 1
| 9 | Fuse Semicunductor Knif | 16A | 2200006872 | 6
| 10 | Fuse | 32A | 2200113960 | 13
| 11 | Fuse HRC Knif EDG | 315A |  | 4
| 12 | Fuse | 400A | 3NA72600RC | 3
| 13 | Switch Pushbutton |  | P2PSF411 | 1
| 14 | 2A Glass Fuse
| 15 | 1A Glass Fuse
| 16 | 500mm Glass Fuse
| 17 | Limit Switch (lance) |  | TA064-12Y-2512-2 | 6
C. | 1 | Rico Card |  |  | 4
| 2 | ESP Auto Data Gird |  |  | 2
| 3 | Tranfo Card (ESP) |  |  | 2
| 4 | Vall (ESP) |  | 1-EVO S-4R | 2
| 5 | Flow Switch |  | EDS300 (HYDAC) | 1
| 6 | RYB indication |  |  | 5+5
D | 1 | Flow Switch 23 Meter |  | 2200243974 | 6
| 2 | Phoenix Contact (24V Relay) |  | 2966016 | 60+
| 3 | Phoenix Contact (Safety) |  | 2200019375 | 2
| 4 | Egnesion Trafo |  | 2200239943 | 3
| 5 | JH FUGUAI TAG |  |  | 60+
| 6 | Vibration Sensor Cable |  | 2200159194 | 20
| 7 | Selecter Switch |  |  | 50
| 8 | CM Switch |  |  | 10
| 9 | Push Button (Red) |  |  | 50
| 10 | Push Button(Green) |  |  | 50
| 11 | NO Contact |  |  | 50
| 12 | NC Contact |  |  | 50
E | 1 | ESP Tharma Couple |  |  | 4
| 2 | Tranformer Cale |  |  | 1
| 3 | Mangnetic Level Switch (19 meter) |  |  | 1
| 4 | Sparplug |  |  | 3
CUPBOARD-09
Sub Cupboard No | SR NO | MATERIAL DESCRPTION |  | MLFB NO | Qunatity
A | 1 | Encoder Holding Rod (LAcamp) |  | TR-T65-5A (2200252570) | 5
| 2 | Converter Camp switch |  | CEV582M-10026(2200011467) | 3
| 3 | 1024-Lance Motor (Incoder) |  |  | 2
| 4 | 2048-Canverter Motor (Incoder) |  |  | 2
| 5 | RH Incoder Absolvte |  | GXMMW A203P32 | 8

## SCRAP MATERIAL
MATERIAL NAME | MODEL NO | SR NO | QTY | STATUS
Power Supply | TRIO-PS 1AC 24 DC 10A | 2866323 | 2
SIMENS (SIDART) POSITIONER | 6DRS113-0NN01-0AA0 |  | 2
SMART POSIOTIONER | XT-3300 LSn 052025 | T0113289 | 2
CABLE CLAMP
O2 ANALYZER SIEMENS / GAS ANALYZER | TMB6221-0AB01-313X1 |  | 2 | REPAIR
O2 ANALYZER SIEMENS / GAS ANALYZER | TMB6122-0VVD11-OZB1 |  | 2
LACAMP PUMP |  | BG65SX25 S1 | 1
SHETUP POSITIONER |  |  | 2 | SCRAP
LOAD CELL PIN
PROB HEAD |  |  | 2
TRANSFORMER 100T LOAD CELL |  | 0028B3V2 | 3
DGA PUMP |  |  | 2 | SCRAP
FLOW TRANSMETER |  |  | 1
EN-LEVEL SWITCH |  |  | 1

## Sheet4
Rack No. |  | Box No. | Material Discription | Qty
4 | A | 1 | 2P Switch Board
|  | 2 | 15 HP Starter
|  | 3 | RH Coil
|  | 4 | MCB 2P , 2A
|  | 5 | Old Limit Switch
| B | 1 | ABB Control Board
|  | 2 | MCB 2P , 6A
|  | 3 | Sick Controller
|  | 4 | MCB 2P , 6A
|  | 5 | ABB MS165 80, 70A-80A MPCB
|  | 6 | ABB Amiter
| C | 1 | ABB Contactor Tips
|  | 2 | MCB 2P , 6A | 2 BOX
| D | 1 | Push Button
|  | 2 | Torpido Top Car (3P/50T)
|  | 3 | Scrap Car Load Cell Remote

## Sheet2
Rack No. |  | Box No. | Material Discription | Qty
2 | A | 1 | LED Board
|  | 2 | LT Hand Gloves
|  | 3 | LED PCB
| B | 1 | Blower | 4 NOS
|  | 2 | 20A Starter | 2 BOX
|  | 3 | TBULR 06-32mm | 4 BOX
| C | 1 | Oil Can | 2 BOX
|  | 2 | SIEMENSE Flow Controller | 3 BOX
|  | 3 | Repair Multimeter
| D | 1 | Blower | 3 NOS
|  | 2 | Grease Gun ( 5kg )

## Sheet3
Rack No. |  | Box No. | Material Discription | Qty
3 | A | 1 | Battery Power Grease Gun (450gm) | 02 NOS
|  | 2 | LED Lights
|  | 3 | SIEMENSE FDA System
|  | 4 | Cat 6 Cable ( 15 mtr)
| B | 1 | FUSE
|  | 2 | OFC Patch Cord
|  | 3 | Cable KVM USP
|  | 4 | D-Link Cat 6
|  | 5 | IR Gas Analyser
| C | 1 | Shocket 6A, Site Nose Plier, Tube Cutter
|  | 2 | Welding Shocket
|  | 3 | Digital Input dives
|  | 4 | E&A
| D | 1 | All Size RTT

## CUPBOARD01
Cupboard - 01
Sub Cupboard No | SR NO | MATERIAL DESCRPTION | MLFB NO | Qunatity
A | 1 | Central processing Unit (Modul Near) |  | 4
| 2 | Central processing Unit
| 3 | Syns Modul Fern , Sync Module Far |  | 2
| 4 | CPU-414-5H PN/DP |  | 1
| 5 | CPU-414-3PN/DP | 4700104359 | 4
| 6 | CPU-416-5H | PO-MH1127284622 | 3
| 7 | CPU-417-5H | POMH1127284622 | 1
| 8 | Communication Processor FOR S7-400 Series | CP443-IEX30 | 5
| 9 | Communication Processor | CP443-SEXTENDED | 4
| 10 | Power Supply PS407 (4A) |  | 1
| 11 | Power Supply PS407 (10A) |  | 3
B | 1 | Ethernet 2-Port-TI45-Swithc | CP-1623 | 7
| 2 | Smart Sensor |  | 2
| 3 | FPBA-01 OPTION/SP KIT | 2200211836 | 3
| 4 | FEN-13 KIT | 2200115502 | 2
| 5 | Frequency Converter Equipment |  | 1
| 6 | MSA 2050 |  | 1
| 7 | Safety Relay | 35k121-icb42 | 5
C | 1 | Analog Input Module S7-1200 |  | 3
| 2 | Analog output Module S7-1200 |  | 3
| 3 | Communication Module S7-1200 |  | 3
| 4 | Digital Input Module S7-1200 |  | 2
| 5 | CPU Module S7-1200 |  | 1
| 6 | CPU S7-1200 |  | 2
| 7 | Digital Output Module S7-1500 |  | 6
| 8 | Digital Input Module |  | 1
D | 1 | Bus Module ET-200 | 6ES71957HC000XA0 | 15
| 2 | Y Coupler | 6ES7197ILB00OXA0 | 7
| 3 | Simatic S7-400 CPU | 6ES74175HT060AB0 | 1
| 4 | Assembled inch | 76E811M480 | 2
| 5 | Interface Module | 6ES71556AU010BN0
| 6 | Accessory Cabling Kit |  | 21
| 7 | Digital Input Module S7300 (24A)
| 8 | Field Terminated Plug cat-6A RJ45 | 1PO183010086 | 1
| 9 | Baseunit ET200SP | 6ES7193-6BP00-0BA1 | 2
| 10 | Connector Phonix |  | 2
E | 1 | Busconnector Profibus DP | 6ES7972-0BAS2-0XA0 | 51
| 2 | Repeater RS | 6ES7972-0AA02-0XA0 | 8
| 3 | Digital output Module 200SP | 6ES7-132-6BF01-0BA0 | 16
| 4 | Digital Input Module ET200SP | 6ES7131-6BH01-0BA0 | 9
| 5 | Analog Input Module ET200SP | 6ES7134-6JDOO-0CA1 | 4
| 6 | Counter Module S7300 | 6ES7350-2AH01-0AE0 | 6
| 7 | Connector | 6ES7392-1AJ00-0AA0 | 20
| 8 | Connector | 6ES7392-IAMOO-0AA0 | 27
| 9 | Safety Protector S7300 | 6ES7195-7KF00-0XA0 | 14

## CUPBOARD02
Cupboard - 02
Sub Cupboard No | SR NO | MATERIAL DESCRPTION | MLFB NO | Qunatity
A | 1 | Redundany Module | 6EP19613BA21 | 4
| 2 | Prosoft Radiolinx 802.11a |  | 4
| 3 | Central Processing Unit S7-300 | 6ES73152F14 | 2
| 4 | CPU | 6ES73183FL010AB0 | 1
| 5 | CPU | 6ES73146EH040AB0 | 1
| 6 | CPU | 6ES73136C4040AB0 | 1
| 7 | COMM Processor | 6ES7341ICH020AB0 | 1
| 8 | Power Supply (10 A ) | 6EP13342BA20 | 1
| 9 | Power Supply (5 A ) | 6EP133-2BA20 | 1
| 10 | Power Supply (5 A ) | 6EP133-212B00 | 1
| 11 | Smart CPU Module S7-200 | 6ES7-288-15T30-0AA1 | 1
| 12 | COMM Processor CP-343 | 6GK7-343-ICX10-OXEO | 2
| 13 | Power Supply (40 A ) | 6EP-3437-8SB00-0AY0 | 1
| 14 | Media Converter (LC To LAN) |  | 2
| 15 | Comfert Panel | 6AV212406C010AX0 | 1
| 16 | Power Supply (10 A ) | 2200028328 | 1
B | 1 | Analog Input Module S7300 | 6ES7331-IKF02-0AB0 | 8
| 2 | Analog Input Module (Safety) S7300 | 6ES7336-4GE00-0AB0 | 2
| 3 | AOM A08'12BIT S7300 | 6ES7332-5HF00-0AB0 | 4
| 4 | DIM DI'32 S7300 | 6ES7321-1BL00-0AA0 | 18
| 5 | DOM DO32 S7300 | 6ES7322-IBL00-0AA0 | 10
| 6 | DOMDO16 S7300 | 6ES7322-IBH01-0AA0 | 12
| 7 | DOM DO8 S7300 | 6ES7322-IBF01-0AA- | 21
C. | 1 | DOM DO8 S7300 | 6ES7326-2BF41-0AB0 | 25
| 2 | DIM DI24 S7300 | 6ES7326-IBK02-0AB0 | 13
| 3 | Welghing Module | 7MH4950-2AA01 | 4
| 4 | Sinamics CU240E-2DP | 6SL32440BB121PA1 | 5
| 5 | Sinamics CU250S-2DP | 6SSL3246-0BA22-1PA0 | 2
D | 1 | Process Sensor | 9701-001 FLEXPROGRAMMER | 1
| 2 | Sinamics Converter Parts | 6SL3055-0AA0-40AS | 1
| 3 | Basic Panel | 6AV223-2GB03-0AX0 | 1
| 4 | Basic Panel | 6AV223-2JB03-0AX0 | 1
| 5 | Basic Panel | 6AV223-2DB03-0AX0 | 4
| 6 | Windows CD
E | 1 | Patch Cord
2
3

## CUPBOARD3
Cupboard - 03
Sub Cupboard No | SR NO | MATERIAL DESCRPTION | MLFB NO | Qunatity
A | 1 | Scalance XB005 - Simatic Net |  | 3
| 2 | RJ 45 Connector | 2200055742 | 500
| 3 | 5A Power Suuply |  | 5
| 4 | CO Monitor
| 5 | 16 Port CISSCO Switch
B | 1 | Drill Machin
| 2 | Laptop - Think Cliend |  | 2
| 3 | Hole Saw Cutter | 2100523549
C | 1 | OLM | 6GK1503-3CB00 | 20
| 2 | Motor Checker |  | 8
| 3 | Insulation Tape
| 4 | Tool Bag
D | 1 | HT Tape |  | 24
| 2 | Contact Cleaner |  | 8
| 3 | Drill Machine Battery Operated
E | 1 | Megger
| 2 | Multimeter
| 3 | Clamp Meter
| 4 | HR Tape

## CUPBOARD04
Cupboard - 04
Sub Cupboard No | SR NO | MATERIAL DESCRPTION | MLFB NO | Qunatity
A | 1 | MCB 1P 4A |  | 23 Box
| 2 | MCB 1P 6A |  | 3 Box
| 3 | MCB DP C2 |  | 4 Box
| 4 | MCB DP C6 |  | 4 Box
| 5 | MCB 2P C6 |  | 9 Box
B | 1 | MCB 2P 10A | 1SYS272012R0104 | 3 Box
| 2 | MCB 3P 6A |  | 6 Box
| 3 | MCB 3P 16A | 5SL43167RC | 12 Box
| 4 | MCB 3 3P 63A |  | 10 Box
C | 1 | MCB 4P 16A |  | 7 Box
| 2 | MCB 4P 32A |  | 9 Box
| 3 | MCB 2P 40A |  | 2 EA
| 4 | MCB 4P 63A |  | 2 Box
D | 1
2
3
4
5
E | 1 | RCCB 2P 25A | 2200095763 | 8 Box
| 2 | RCCB 1P+N C25 30mA |  | 18 Box
| 3 | RCBO 4P C63 30mA |  | 15 Box
| 4 | Spanner Set
5

## CUPBOARD5
Cupboard - 05
Sub Cupboard No | SR NO | MATERIAL DESCRPTION | ITEM CODE | Qunatity
A | 1 | PVC Tape |  | 7BOX
| 2 | Holesaw Cutter
B | 1 | 6205-ZZ-C3 | 2100075162 | 17
| 2 | 6204-ZZ-C3 | 2100147108 | 13
| 3 | 6305-ZZ-C3 | 2100147026 | 5
| 4 | 6209-ZZ-C3 | 2100075180 | 23
| 5 | 6309-C3 | 2100147112 | 21
| 6 | 6210-ZZ-C3 | 2100075188 | 13
| 7 | 6310-ZZ-LI40 | 2100075276 | 2
| 8 | 6212-ZZ-C3 | 2100075194 | 23
| 9 | 6212-C3 | 2100146958 | 7
C | 1 | 6213-ZZLI40 | 2100075200 | 15
| 2 | 6216-H-ZZ-SN | 2100075207 | 7
| 3 | NJ-313-ECM | 2100075702 | 5
| 4 | NJ 310 | 2100075697 | 22
D | 1 | 6317-C3 |  | 13
| 2 | 6318-C3 | 21000192644 | 4
| 3 | Insulation Tape
E | 1 | 6322-C3 | 2100147075 | 2
| 2 | NU319-ECJ |  | 4
| 3 | 6319-C3 |  | 2
| 4 | 6224-C3 | 2100075224 | 5
| 5 | Heater |  | 1
| 6 | UPS Crad

## CUPBOARD6
Cupboard - 06
Sub Cupboard No | SR NO | MATERIAL DESCRPTION | MLFB NO | Qunatity
A | 1 | Insulation Fitting
B | 1 | Insulation Fitting
C | 1 | Insulation Fitting
D | 1 | Flow Switch | SI5000 | 15
| 2 | Flow Switch | PN2093 | 7
| 3 | Teflon Tape |  | 30
| 4 | Pressure Regulater |  | 1
| 5 | Level Controler |  | 1
| 6 | MFC |  | 1
| 7 | HT Tape |  | 4
E | 1 | 4 Wire Connector |  | 15
| 2 | MFC Connector |  | 7
| 3 | Level Indicator (adage) |  | 4
| 4 | Pressure Pump Laccam

## COPBOARD 07
Cupboard - 07
Sub Cupboard No | SR NO | MATERIAL DESCRPTION | Qunatity | Qunatity
A | 1 | Telephone | 1
| 2 | Hot Blower | 1
| 3 | Encoder Coupling | 7
| 4 | Dealins switch | 2
B | 1 | Lug Ring Type 2.5sqmm | 1000NOS
| 2 | Lug Pin Type 1.5sqmm | 600NOS |  |  |  | Sub Cupboard No | SR NO | MATERIAL DESCRPTION | Qunatity
| 3 | Lug U Type 1.5sqmm | 400NOS |  |  |  | A | 1 | Telephone | 1
| 4 | Lug Ring Type 1.5sqmm | 650NOS |  |  |  |  | 2 | Hot Blower | 1
| 5 | Lug Pin Type 2.5sqmm | 500NOS |  |  |  |  | 3 | Encoder Coupling | 7
| 6 | Lug Pin Type 4sqmm | 200NOS |  |  |  |  | 4 | Dealins Switch | 2
| 7 | Lug Ring Type 4sqmm | 200NOS |  |  |  | B | 1 | CU LUGS
| 8 | Lug 10sqmm | 150NOS |  |  |  |  | 2 | LUG RING TYPE 2.5sqmm | 1000NOS
| 9 | Lug 16sqmm | 100NOS |  |  |  |  | 3 | LUG PIN TYPE 1.5sqmm | 600NOS
| 10 | Lug 25sqmm | 130NOS |  |  |  |  | 4 | LUG U TYPE 1.5sqmm | 400NOS
| 11 | Lug 35sqmm | 200NOS |  |  |  |  | 5 | LUG RING TYPE 1.5sqmm | 650 NOS
| 12 | Lug 50sqmm | 200NOS |  |  |  |  | 6 | LUG PIN TYPE 2.5sqmm | 500 NOS
| 13 | Lug 70sqmm | 75NOS |  |  |  |  | 7 | LUG PIN TYPE 4sqmm | 200 NOS
| 14 | Lug 95sqmm | 50NOS |  |  |  |  | 8 | LUG RING TYPE 4sqmm | 200 NOS | NOS
| 15 | Lug 120sqmm | 50NOS |  |  |  |  | 9 | LUG 10sqmm | 150 NOS
| 16 | Lug 150sqmm | 30NOS |  |  |  |  | 10 | LUG 16sqmm | 100 NOS
| 17 | Lug 185 sqmm | 40NOS |  |  |  |  | 11 | LUG 25sqmm | 130 NOS
C | SR NO | AL LUG | Qunatity |  |  |  |  | 12 | LUG 35sqmm | 200 NOS
| 1 | Lug Pin Type 2.5sqmm | 530 NOS |  |  |  |  | 13 | LUG 50sqmm | 200NOS
| 2 | Lug Pin Type 1.5sqmm | 490 NOS |  |  |  |  | 14 | LUG 70sqmm | 75 NOS
| 3 | Lug U Type 2.5sqmm | 400 NOS |  |  |  |  | 15 | LUG 90 sqmm | 50 NOS
| 4 | Lug 10sqmm | 286 NOS |  |  |  |  | 16 | LUG 120sqmm | 50 NOS
| 5 | Lug 16sqmm | 340 NOS |  |  |  |  | 17 | LUG150sqmm | 30 NOS
| 6 | Lug 25sqmm | 20 NOS |  |  |  |  | 18 | LUG 185sqmm | 40 NOS
| 7 | Lug 35sqmm | 200 NOS |  |  |  | C |  | AL LUGS
| 8 | Lug 50sqmm | 50 NOS |  |  |  |  | 1 | LUG PIN TYPE 2.5sqmm | 530 NOS
| 9 | Lug 70sqmm | 65 NOS |  |  |  |  | 2 | LUG PIN TYPE 1.5sqmm | 490 NOS
| 10 | Lug 95sqmm | 55 NOS |  |  |  |  | 3 | LUG U TYPE 2.5sqmm | 400 NOS
| 11 | Lug 120sqmm | 40 NOS |  |  |  |  | 4 | LUG 10sqmm | 286 NOS
| 12 | Lug 150sqmm | 25 NOS |  |  |  |  | 5 | LUG 16sqmm | 340 NOS
| 13 | Lug 185 sqmm | 40 NOS |  |  |  |  | 6 | LUG 25sqmm | 20 NOS
| 14 | Lug 240sqmm | 22 NOS |  |  |  |  | 7 | LUG 35sqmm | 200 NOS
| 15 | Lug 300sqmm | 15 NOS |  |  |  |  | 8 | LUG 50sqmm | 50 NOS
D | SR NO | CU FUL | Qunatity | SR NO | AL FUL | Qunatity |  | 9 | LUG 70sqmm | 65 NOS
| 1 | 6sqmm | 100 NOS | 1 | 10sqmm | 90 NOS |  | 10 | LUG 90 sqmm | 55 NOS
| 2 | 16sqmm | 40 NOS | 2 | 16sqmm | 100 NOS |  | 11 | LUG 120sqmm | 40 NOS
| 3 | 25sqmm | 130 NOS | 3 | 50sqmm | 70 NOS |  | 12 | LUG150sqmm | 25 NOS
| 4 | 35sqmm | 140 NOS | 4 | 70sqmm | 60 NOS |  | 13 | LUG 185sqmm | 40 NOS
| 5 | 50sqmm | 70 NOS | 5 | 95sqmm | 68 NOS |  | 14 | LUG 240 sqmm | 22 NOS
| 6 | 70sqmm | 40 NOS | 6 | 185sqmm | 30 NOS |  | 15 | LUG 300sqmm | 15 NOS
| 7 | 95sqmm | 25 NOS | 7 | 240sqmm | 5 NOS | D |  | CU FUL
| 8 | 120sqmm | 30 NOS | 8 | 300sqmm | 18 NOS |  | 1 | 6sqmm | 100 NOS
| 9 | 150sqmm | 65 NOS |  |  |  |  | 2 | 16sqmm | 40 NOS
E | SR NO | MATERIAL DESCRPTION | Qunatity |  |  |  |  | 3 | 25sqmm | 130 NOS
| 1 | Copper Busbar | 15 |  |  |  |  | 4 | 35sqmm | 140 NOS
| 2 | Limit switch | [5 empty] | 5 | 50sqmm | 70 NOS
| 3 | Lugs | 1 Box |  |  |  |  | 6 | 70sqmm | 40 NOS
| 4 | Copper UPS Lid- 2 Bunddle (10-25 sqmm) | [5 empty] | 7 | 95sqmm | 25 NOS
[8 empty] | 8 | 120sqmm | 30 NOS
[8 empty] | 9 | 150sqmm | 65 NOS
AL FUL
[8 empty] | 1 | 10sqmm | 90 NOS
[8 empty] | 2 | 16sqmm | 100 NOS
[8 empty] | 3 | 50sqmm | 70 NOS
[8 empty] | 4 | 70sqmm | 60 NOS
[8 empty] | 5 | 95sqmm | 68 NOS
[8 empty] | 6 | 185sqmm | 30 NOS
[8 empty] | 7 | 240sqmm | 5 NOS
[8 empty] | 8 | 300sqmm | 18 NOS
[7 empty] | E | 1 | Copper Busbar | 15NOS
[8 empty] | 2 | Limit Switch
[8 empty] | 3 | Liugs | 1bOX
[8 empty] | 4 | Copper UPS Lid -2 Bunddle (10& 25 sqmm)

## cupboard 8
Cupboard - 08
Sub Cupboard No | SR NO | MATERIAL DESCRPTION | ITEM CODE | Qunatity
A | 1 | Plier
| 2 | 6A TOP
B | 1 | Wire Straicher | 2210019887
| 2 | Tamperature card | 4200062536 | 200
| 3 | Optical Wire Metter Tracker |  | 2
| 4 | Switch Board |  | 2
| 5 | screw Driver Set |  | 10
C | 1 | Presure loop Calibrator |  | 2
| 2 | Multimeter 101 |  | 8
| 3 | Insulation Tester |  | 2
| 4 | Clamp Meter 376 |  | 2
D | 1 | Screw Driver Set |  | 10
| 2 | RJ 45Crimping Tool |  | 1
| 3 | Lazer Tester |  | 2
| 4 | Temp Gun |  | 1
| 5 | ST Insulated Screw Driver |  | 5
| 6 | Alley Key
E | 1 | VGA TO HDMI Connector |  | 20
| 2 | Adjustable |  | 10
| 3 | Extension Board 15 mtr Wire |  | 4

## CUPBOARD09
CUPBOARD-09
Sub Cupboard No | SR NO | MATERIAL DESCRPTION | MLFB NO | Qunatity
A | 1 | Encoder Holding Rod (LAcamp) | TR-T65-5A (2200252570) | 5
| 2 | Converter Camp switch | CEV582M-10026(2200011467) | 3
| 3 | 1024-Lance Motor (Encoder) |  | 2
| 4 | 2048-Canverter Motor (Encoder) |  | 2
| 5 | RH Incoder Absolvte | GXMMW A203P32 | 8

## CUPBOARD11
CUPBOARD -11
Sub Cupboard No | SR NO | MATERIAL DESCRPTION | MLFB NO | Qunatity
A | 1 | Heavy Duty Encoder Incremental | HOG86DN20481
| 2 | Current Transformer | 10253 2903 800/5A | 1
| 3 | Current Transformer | 1250/5A | 1
| 4 | Model -NA-20062,24VDC, Input |  | 1
| 5 | MPA4112 V1.1 - 3A | 00019993/X36
| 6 | RH Preheater UV Sensor Module | CE-0085AR0415
| 7 | Core Balance Current Transformer - 630/1A | 7UG09914 | 2
| 8 | Core Balance Current Transformer - 160/1A | 7UG09910 | 3
| 9 | ACC,CKT,BRKR - 3A | H4305-2 (2200149052) | 2
| 10 | Recter.SOST ,AIR, PCB - 2A | 2200200680 | 5
| 11 | Limit Switch (lance) | TL-441-11Y-T-1276 (220004985) | 12
| 12 | FA | 064-12X-2512-2 | 5
| 13 | SW,LIM,HDTY,RLY,UNID (KR) - 4A | TK441-11Y-RMS-M20) | 7
B | 1 | Bussmann Series - 800A | 170M6629 | 1
| 2 | Limit Switch | 064-12Y-2512-2 | 1
| 3 | LV HRC Fuse Link - 160A | 3NA71366RC | 1
| 4 | Fuse, HRC, KNIF EDG - 160A | 2200161626 | 1
| 5 | Fuse Semicunductor - 800A | 170M8647 | 6
| 6 | Fuse Semicunductor Knife - 63 A | 2200113921 | 1
| 7 | Fuse HRC Knif EDG - 315 A | 2200115642 | 1
| 8 | Fuse HRC Knif EDG - 400 A |  | 1
| 9 | Fuse Semicunductor Knife - 16 A | 2200006872 | 6
| 10 | Fuse - 32 A | 2200113960 | 13
| 11 | Fuse HRC Knif EDG - 315 A |  | 4
| 12 | Fuse - 400 A | 3NA72600RC | 3
| 13 | Switch Pushbutton | P2PSF411 | 1
| 14 | 2A Glass Fuse
| 15 | 1A Glass Fuse
| 16 | 500mm Glass Fuse
| 17 | Limit Switch (lance) | TA064-12Y-2512-2 | 6
C. | 1 | Rico Card |  | 4
| 2 | ESP Auto Data Gird |  | 2
| 3 | Tranfo Card (ESP) |  | 2
| 4 | Vall (ESP) | 1-EVO S-4R | 2
| 5 | Flow Switch | EDS300 (HYDAC) | 1
| 6 | RYB indication |  | 5+5
D | 1 | Flow Switch 23 Meter | 2200243974 | 6
| 2 | Phoenix Contact (24V Relay) | 2966016 | 60+
| 3 | Phoenix Contact (Safety) | 2200019375 | 2
| 4 | Egnesion Trafo | 2200239943 | 3
| 5 | JH FUGUAI TAG |  | 60+
| 6 | Vibration Sensor Cable | 2200159194 | 20
| 7 | Selecter Switch |  | 50
| 8 | CM Switch |  | 10
| 9 | Push Button (Red) |  | 50
| 10 | Push Button(Green) |  | 50
| 11 | NO Contact |  | 50
| 12 | NC Contact |  | 50
E | 1 | ESP Tharma Couple |  | 4
| 2 | Tranformer Cale |  | 1
| 3 | Mangnetic Level Switch (19 meter) |  | 1
| 4 | Sparplug |  | 3

## Cupboard 10
CUPBOARD-10
Sub Cupboard No | SR NO | MATERIAL DESCRPTION | Qunatity
A | 1 | Tools Kit | 2
| 2 | Glove | 10
| 3 | Mask | 15
| 4 | Hand Gloves | 5
B | 1 | Box File | 8
| 2 | Plier
| 3 | CRC Spray
| 4 | Aluminium tape | 6
C | 1 | Box File
| 2 | Aluminium tape
| 3 | Flate file
| 4 | Alley Key Set
D | 1 | Box File
| 2 | Ring Spanner
| 3 | Tools Kit | 1
| 4 | Flate file
E | 1
2
3
4

## CUPBOARD12
CUPBOARD -12
Sub Cupboard No | SR NO | MATERIAL DESCRPTION | MLFB NO | Qunatity
A | 1 | Transfer for Checklist Book |  | 37
| 2 | PTW Register Book |  | 6
| 3 | UPS Charger Checklist Book |  | 11
| 4 | Transformer Checklist Book |  | 3
| 5 | Substation #01 2nd Floor Book |  | 4
| 6 | ESP -01 MCC Book |  | 2
| 7 | Laser Analyzer Checklist Book |  | 17
| 8 | Isolation Register Book |  | 16
B | 1 | Motor Protection Circuit Breaker -0.7 - 1A | MOG-H1-0100 | 16
| 2 | Contact Accessories | ISBN010020R1011 | 7
| 3 | Contator | ISBL241001R8401 | 9
| 4 | MIA 3 Single Function Meter | ISYG235135R4051 | 13
| 5 | Contactor Power Air Breaker - 75 A | ISBL397001R1300 | 2
| 6 | Manual Motor Starter - 10-16 A | ISAM280000R1008 | 2
| 7 | Manual Motor Starter - 70-80A | ISAM451000R1019 | 5
| 8 | Manual Motor Starter - 10-16 A | ISAM350000R1011 | 5
| 9 | Contactor - 16-20A | ISBL141201R8400 | 14
| 10 | MPCB | ISAM350000R1013 | 4
| 11 | Contact Accessories | ISBN010040R1022 | 59
C. | 1 | Cotactor | ISBL371001R8400 | 1
| 2 | C Moulded Circuit Breaker | ISDA067819R1 | 4
| 3 | Manual Motor Starter 3P, 50KA -1-1.6 A | ISAM250000RI006 | 4
| 4 | Air Breaker (Aux) Contactor - 2A | 3TH3031-0AP0 | 3
| 5 | Manual Motor Starter Trip | ISAM250000RI008 | 3
| 6 | Moulded Case Circuit Breaker | ISDA068490R1 | 2
| 7 | Circuit Breaker - 10-16A | 3VU1340-0MM00 | 5
| 8 | Signal Contact | ISAM201903R1001 | 5
| 9 | P2-FP-1101AC | ISYN790291P0604-A | 1
| 10 | Signal contact accesories manual motor starter | ISAM401904R1001 | 4
| 11 | Contact Accessories | ISFN010720R3311 | 16
| 12 | 4/Analog Output Relay , LF , BECKHOFF | 32230512 | 18
| 13 | Addon Block ABB |  | 2
| 14 | Contactor Power - 65A | LCID65AP7
| 15 | Contactor Power | 3TF49 | 1
D | 1 | MCCB ,4P - 80A |  | 1
| 2 | Power Contactor ABB | AF260-30 | 1
E | 1 | PVC Gland 01 |  | 30
| 2 | SS Gland 13mm |  | 50
| 3 | PVC Gland 9mm |  | 20
| 4 | SS Gland 54mm |  | 12
| 5 | SS Gland 23mm |  | 13
| 6 | SS Gland 35mm |  | 8
| 7 | Panel Lock |  | 20

## CUPBOARD13
CUPBOARD -13
Sub Cupboard No | SR NO | MATERIAL DESCRPTION | ITEM CODE | QTY
A | 1 | Siemens Positioner | 2200211288
| 2 | Samsung Positioner | 2200210630
| 3 | Ultament Connector | 3200005093
| 4 | Shut Off Valve Positioner | 2200211138
B | 1 | HART Calibrator
| 2 | LAN Teaster
| 3 | LT Megger
| 4 | Calibration Cylinder | 6300000171
| 5 | Thermo Couple (RTD)
| 6 | UV Detector / Sensor
| 7 | Temp Transmitter
C | 1 | LACCAM PUMP
| 2 | Solenoid Coil 24v |  | 40 NOS
| 3 | Level Sensor
| 4 | Solenoid Coil 230 |  | 12 NOS
| 5 | Adase 24v Solenoid Coil
| 6 | Analyzer Assesories
| 7 | IR Source
| 8 | 02 Card
| 9 | U2 Sensor
D | 1 | Ignition Transformer
| 2 | RH Relay
| 3 | USB To Serial Adaptar |  | 5
| 4 | Temp Transmitter

## Sheet1
K&S Type Cable Drum
Light JB
PLC Card
PLC Card
PLC Card
Samsung Positioner
ABB Power Contactor
LT Suit
Insulated Rached Box
4P 63A MCB
132 KW Drive
Stand Light
Earth Tester Kit
IR Camera Set
SBT CPU
Server
Siemens Isolator Handle
Temp Scanning Set
Goggle
Hand Gloves
Mask
Rached Box